| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Schlafzimmer DG Wand | VM-2 Putz Wand |  |  |  | Asbest: |
| MaP-2 | Gesammtes Haus DG - UG Kamin | VM-4 Putz Wand |  |  |  | Asbest: |
| MaP-3 | Gesamtes DG DG Boden | VM-6 Klebstoffe Boden |  |  |  | Asbest: |
| MaP-4 | Gesammtes Haus DG - UG Fensterflügel | VM-7 Fensterkitt Fensterflügel |  |  |  | Asbest: |
| MaP-5 | Schlafzimmer OG Wand | VM-8 Putz Wand |  |  |  | Asbest: |
| MaP-6 | WC OG Boden | VM-10 (elastische) Bodenbeläge Boden |  |  |  | Asbest: |
| MaP-7 | Bad OG Wand | VM-11 Putz Wand |  |  |  | Asbest: |
| MaP-8 | Bad OG Decke | VM-12 Putz Decke |  |  |  | Asbest: |
| MaP-9 | Bad OG Wand | VM-13 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-10 | Küche OG Wand | VM-15 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-11 | Küche OG Wand | VM-16 Putz Wand |  |  |  | Asbest: |
| MaP-12 | Küche OG Decke | VM-17 Putz Decke |  |  |  | Asbest: |
| MaP-13 | Wohnzimmer OG Wand | VM-20 Putz Wand |  |  |  | Asbest: |
| MaP-14 | Wekstatt EG Wand | VM-23 Putz Wand |  |  |  | Asbest: |
| MaP-15 | Küche EG Wand | VM-25 Putz Wand |  |  |  | Asbest: |
| MaP-16 | Küche EG Decke | VM-26 Putz Decke |  |  |  | Asbest: |
| MaP-17 | Keller UG Wand | VM-28 Putz Wand |  |  |  | Asbest: |
| MaP-18 | Waschküche UG Wand | VM-30 Putz Wand |  |  |  | Asbest: |
| MaP-19 | Waschküche UG Decke | VM-31 Putz Decke |  |  |  | Asbest: |
| MaP-20 | Fassade EG- DG Wand | VM-32 Faserzement Fassade |  |  |  | Asbest: |
| MaP-21 | Fassade EG- DG Wand | VM-33 Faserzement Fassade |  |  |  | Asbest: |
| MaP-22 | Fassade EG- DG Wand | VM-34 Faserzement Fassade |  |  |  | Asbest: |