| **Bezeichnung** | **Fundort** | **Verdachtsmoment** | **Bemerkung** | **Überblick** | **Detail** | **Ergebnis Analytik** |
| --- | --- | --- | --- | --- | --- | --- |
| **MaP-1** | Estrich  DG  Wand | VM-1  Putz  Wand |  |  |  | Asbest: |
| **MaP-2** | Estrich  DG / 3. OG  Unterdach | VM-2  Faserzement  Unterdach |  |  |  | Asbest: |
| **MaP-3** | Waschküche  3. OG  Wand | VM-3  Putz  Wand |  |  |  | Asbest: |
| **MaP-4** | Waschküche  3. OG  Decke | VM-4  Putz  Decke |  |  |  | Asbest: |
| **MaP-5** | Gesamtes Haus  DG- UG  Fensterflügel | VM-5  Fensterkitt  Fensterflügel |  |  |  | Asbest: |
| **MaP-6** | Gesamtes Haus  DG- UG  Anschlagkitt | VM-6  Anschlagkitt  Fensterrahmen |  |  |  | Asbest: |
| **MaP-7** | Schlafzimmer  2.OG  Wand | VM-9  Putz  Wand |  |  |  | Asbest: |
| **MaP-8** | Schlafzimmer  2.OG  Decke | VM-10  Putz  Decke |  |  |  | Asbest: |
| **MaP-9** | Dusche  1. OG  Wand | VM-11  (elastische) Wandbeläge  Wand |  |  |  | Asbest: |
| **MaP-10** | Treppenhaus / Gang  1. OG - EG  Wand | VM-12  Putz  Wand |  |  |  | Asbest: |
| **MaP-11** | Treppenhaus / Gang  1. OG - EG  Decke | VM-13  Putz  Decke |  |  |  | Asbest: |
| **MaP-12** | Küche  1. OG  Wand | VM-14  (elastische) Wandbeläge  Wand |  |  |  | Asbest: |
| **MaP-13** | Küche  1. OG  Boden | VM-16  (elastische) Bodenbeläge  Boden |  |  |  | Asbest: |
| **MaP-14** | Küche - WC  1. OG  Wand | VM-18  Plattenkleber  Wand |  |  |  | Asbest: |
| **MaP-15** | Küche  1. OG  Decke | VM-19  Faserzement  Decke |  |  |  | Asbest: |
| **MaP-16** | WC / Gang  1. OG  Boden | VM-20  (elastische) Bodenbeläge  Boden |  |  |  | Asbest: |
| **MaP-17** | Gang  EG  Boden | VM-22  (elastische) Bodenbeläge  Boden |  |  |  | Asbest: |
| **MaP-18** | Gang  EG  Wand | VM-23  Putz  Wand |  |  |  | Asbest: |
| **MaP-19** | Gang / Büro / Treppenhaus / Saloon  EG- UG  Boden | VM-25  (elastische) Bodenbeläge  Boden |  |  |  | Asbest: |
| **MaP-20** | Büro  EG  Wand | VM-26  Putz  Wand |  |  |  | Asbest: |
| **MaP-21** | Gang  EG  Wand | VM-27  Putz  Wand |  |  |  | Asbest: |
| **MaP-22** | Saloon  UG  Wand | VM-29  Putz  Wand |  |  |  | Asbest: |
| **MaP-23** | Gang  UG  Boden | VM-28  Plattenkleber  Boden |  |  |  | Asbest: |
| **MaP-24** | Treppenhaus / Gang / Heizraum  1. UG  Bandagen | VM-30  technisches Textil  Ummantelung Rohre |  |  |  | Asbest: |
| **MaP-25** | Treppenhaus / Gang / Heizraum  1. UG  Wand | VM-32  Putz  Wand |  |  |  | Asbest: |
| **MaP-26** | Heizraum  1.UG  Wand | VM-33  Putz  Wand |  |  |  | Asbest: |
| **MaP-27** | Heizraum  1.UG  Türblatt | VM-34  Faserzement  Türblatt |  |  |  | Asbest: |
| **MaP-28** | Fassade vorne  EG- DG  Wand | VM-36  Putz  Wand |  |  |  | Asbest: |
| **MaP-29** | Fassade hinten  EG - DG  Wand | VM-37  Putz  Wand |  |  |  | Asbest: |