| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Schlafzimmer OG Wand | VM-2 Putz Wand |  |  |  | Asbest: |
| MaP-2 | Bad OG Boden | VM-3 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-3 | Bad OG Wand | VM-4 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-4 | Bad OG Wand | VM-5 Putz Wand |  |  |  | Asbest: |
| MaP-5 | Küche OG Wand | VM-6 Putz Wand |  |  |  | Asbest: |
| MaP-6 | Küche OG Wand | VM-7 Plattenkleber Wand rot |  |  |  | Asbest: |
| MaP-7 | Küche OG Boden | VM-8 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-8 | Treppenhaus / Gang OG / EG / UG Wand | VM-9 Putz Wand |  |  |  | Asbest: |
| MaP-9 | Treppenhaus / Gang OG / EG / UG Decke | VM-10 Putz Decke |  |  |  | Asbest: |
| MaP-10 | Küche EG Wand | VM-11 Putz Wand |  |  |  | Asbest: |
| MaP-11 | Küche EG Decke | VM-12 Putz Decke |  |  |  | Asbest: |
| MaP-12 | Küche EG Wand | VM-13 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-13 | Küche EG Boden | VM-14 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-14 | Treppenhaus / Gang EG / UG Boden | VM-15 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-15 | Bad EG Boden | VM-18 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-16 | Bad EG Wand | VM-16 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-17 | Bad EG Decke | VM-17 Putz Decke |  |  |  | Asbest: |
| MaP-18 | WC EG Boden | VM-19 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-19 | WC EG Wand | VM-20 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-20 | WC EG Wand | VM-21 Putz Wand |  |  |  | Asbest: |
| MaP-21 | Wohnzimmer EG Wand | VM-22 Putz Wand |  |  |  | Asbest: |
| MaP-22 | Garage UG Wand | VM-23 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-23 | Garage UG Wand | VM-24 Putz Wand |  |  |  | Asbest: |
| MaP-24 | Gang EG Boden | VM-25 Cushionvinyl Boden |  |  |  | Asbest: |
| MaP-25 | Gang EG Wand | VM-26 Putz Wand |  |  |  | Asbest: |
| MaP-26 | Heizraum EG Wand | VM-27 Putz Wand |  |  |  | Asbest: |
| MaP-27 | Fassade OG Wand | VM-32 Putz Fassade |  |  |  | Asbest: |