| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Küche EG Boden | VM-1 Plattenkleber Boden |  |  |  |  |
| MaP-2 | Küche EG Wand | VM-2 Putz Wand |  |  |  | Asbest: |
| MaP-3 | Küche EG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-4 | Gang / Treppenhaus EG-UG Wand | VM-5 Putz Wand |  |  |  | Asbest: |
| MaP-5 | Gang / Treppenhaus EG-UG Decke | VM-6 Putz Decke |  |  |  | Asbest: |
| MaP-6 | Gang / Treppenhaus EG-UG Boden | VM-7 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-7 | alle Schlafzimner / Gang EG Boden | VM-8 Klebstoffe Boden |  |  |  | Asbest: |
| MaP-8 | Gang EG Wand | VM-9 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-9 | WC EG Wand | VM-10 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-10 | WC EG Wand | VM-11 Putz Wand |  |  |  | Asbest: |
| MaP-11 | WC EG Decke | VM-12 Putz Decke |  |  |  | Asbest: |
| MaP-12 | WC EG Boden | VM-13 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-13 | alle Schlafzimmer EG - UG Wand | VM-14 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-14 | Schlafzimmer EG Wand | VM-15 Putz Wand |  |  |  | Asbest: |
| MaP-15 | Schlafzimmer EG Decke | VM-16 Putz Decke |  |  |  | Asbest: |
| MaP-16 | Bad UG Wand | VM-19 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-17 | Bad UG Boden | VM-20 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-18 | Bad / WC UG Decke | VM-21 Putz Decke |  |  |  | Asbest: |
| MaP-19 | WC UG Wand | VM-22 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-20 | WC UG Boden | VM-23 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-21 | Wohnzimmer UG Wand | VM-24 Putz Wand |  |  |  | Asbest: |
| MaP-22 | Wohnzimmer UG Decke | VM-25 Putz Decke |  |  |  | Asbest: |
| MaP-23 | Waschküche UG Wand | VM-26 Putz Wand |  |  |  | Asbest: |
| MaP-25 | Küche / Gartenhaus EG Wand | VM-27 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-26 | Gartenhaus / Sitzplatz EG Boden | VM-34 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-27 | Gartenhaus / Dusche EG Boden / Wand | VM-29 Plattenkleber Boden / Wand |  |  |  | Asbest: |
| MaP-28 | Fassade UG- DG Wand | VM-31 Putz Wand |  |  |  | Asbest: |
| MaP-29 | Fensterflügel UG - DG Fensterkitt | VM-32 Fensterkitt Fensterflügel |  |  |  | Asbest: |
| MaP-30 | Fensterrahmen UG -DG Anschlagkitt | VM-33 Anschlagkitt Fensterrahmen |  |  |  | Asbest: |
| MaP-32 | Gartenhaus EG Wand | VM-36 Putz Wand |  |  |  | Asbest: |