| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Schlafzimmer OG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-2 | gesamtes Haus OG/ UG Boden | VM-7 Klebstoffe Boden |  |  |  | Asbest: |
| MaP-3 | Bad OG Wand | VM-5 Cushio Vinyl Wand |  |  |  | Asbest: |
| MaP-4 | Bad OG Boden | VM-6 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-5 | Treppenhaus / Gang OG/ UG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-6 | Treppenhaus / Gang OG/ UG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-7 | Küche/ Gang EG Boden | VM-6 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-8 | Küche EG Wand | VM-3 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-9 | Küche EG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-10 | WC EG Boden | VM-6 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-11 | WC EG Wand | VM-5 Cushio Vinyl Wand |  |  |  | Asbest: |
| MaP-12 | WC EG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-14 | Wohnzimmer EG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-15 | gesamter Keller UG Wand/ Decke | VM-8 Kork Wand/ Decke |  |  |  | Asbest: |
| MaP-16 | Waschküche UG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-16 | Waschküche UG Boden | VM-6 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-18 | Waschküche UG Wand | VM-5 Cushio Vinyl Wand |  |  |  | Asbest: |
| MaP-19 | Garage UG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-20 | Fassade EG/DG Wand | VM-10 Faserzement Wand |  |  |  | Asbest: |
| MaP-21 | Fassade EG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-22 | Keller UG Boden | VM-6 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-23 | Wohnzimmer EG Wand | VM-1 Putz Wand |  |  |  | Asbest: |