| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Schlafzimmer DG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-2 | Treppenhaus / Gang OG/UG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-3 | Schlafzimmer OG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-4 | Bad/ Dusche OG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-5 | Bad/ Dusche OG Wand | VM-3 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-6 | Bad/ Dusche OG Boden | VM-4 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-7 | Treppenhaus / Gang OG/UG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-8 | Wohnzimmer EG Boden | VM-9 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-9 | Wohnzimmer EG Chemineè | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-10 | Wohnzimmer / Küche EG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-11 | Wohnzimmer / Küche EG Decke | VM-2 Putz Decke |  |  |  | Asbest: |
| MaP-12 | Küche EG Wand | VM-10 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-13 | WC EG Wand | VM-3 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-14 | WC EG Boden | VM-4 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-15 | WC EG Wand / Decke | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-16 | Waschküche/ Gang UG Boden | VM-9 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-17 | Eingang UG Boden | VM-8 Cushion Vinyl Boden |  |  |  | Asbest: |
| MaP-18 | Fassade EG/ DG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-19 | Fassade EG/ DG Wand | VM-1 Putz Wand |  |  |  | Asbest: |
| MaP-20 | Eingang EG Boden | VM-9 Plattenkleber Boden |  |  |  | Asbest: |