| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Galerie DG Wand | VM-1 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-2 | Galerie DG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-3 | Wohnzimmer / Küche / Gang Galerie / DG Boden | VM-2 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-4 | Wohnzimmer / Küche / Gang Galerie / DG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-5 | Wohnzimmer DG/OG/EG Chemineé | VM-10 Asbestschnur Chemineé |  |  |  |  |
| MaP-6 | Küche DG/OG/EG Brandschutzplatte | VM-11 LAP Küche |  |  |  | Asbest: |
| MaP-7 | Bad DG Wand | VM-1 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-8 | Bad DG Boden | VM-2 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-9 | Büro DG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-10 | Büro DG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-11 | Treppenhaus OG/ DG Boden | VM-6 Klebstoffe Boden |  |  |  | Asbest: |
| MaP-12 | Treppenhaus OG/UG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-13 | Treppenhaus OG/UG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-14 | Bad OG Wand | VM-1 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-15 | Gesamte Wohnung OG/EG Boden | VM-2 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-16 | Gang OG/ EG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-17 | Gang OG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-18 | Wohnzimmer OG/EG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-19 | Wohnzimmer OG/EG Decke | VM-1 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-20 | Küche OG/ EG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-21 | Küche OG/ EG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-22 | Schlafzimmer EG/ OG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-23 | Schlafzimmer EG/ OG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-24 | Treppenhsus UG Boden | VM-5 Cushion Vinyl Boden |  |  |  | Asbest: |
| MaP-25 | WC UG Boden | VM-5 Cushion Vinyl Boden |  |  |  | Asbest: |
| MaP-26 | WC UG Wand | VM-1 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-27 | Waschküche UG Decke | VM-4 Putz Decke |  |  |  | Asbest: |
| MaP-28 | Dusche UG Wand / Boden | VM-16 Plattenkleber Wand/ Boden |  |  |  | Asbest: |
| MaP-29 | Werkstatt UG Boden | VM-6 Klebstoffe Boden |  |  |  | Asbest: |
| MaP-30 | Fassade EG/DG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-31 | Velounterstand EG Dach | VM-17 Faserzement Dach |  |  |  | Asbest: |
| MaP-32 | Velounterstand EG Wand | VM-18 Faserzement Wand |  |  |  | Asbest: |