| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Unterdach DG Decke | VM-1 Faserzement Unterdach |  |  |  | Asbest: |
| MaP-2 | Dusche OG Wand | VM-2 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-3 | Dusche OG Boden | VM-3 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-4 | Treppenhaus / Gang / Esszimmer OG- UG Wand | VM-4 Putz Wand |  |  |  | Asbest: |
| MaP-5 | Treppenhaus / Gang / Esszimmer OG- EG Decke | VM-5 Putz Decke |  |  |  | Asbest: |
| MaP-6 | Wohnzimmer / Gang / Esszimmer EG Boden | VM-6 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-7 | Küche EG Boden | VM-7 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-8 | Küche EG Wand | VM-8 Putz Wand |  |  |  | Asbest: |
| MaP-9 | Küche EG Decke | VM-9 Putz Decke |  |  |  | Asbest: |
| MaP-10 | Treppenhaus / Eingang / Keller EG- UG Boden | VM-10 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-11 | Heizraum / Werkstatt / Keller UG Boden | VM-11 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-12 | Bad EG Wand | VM-14 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-13 | Bad EG Boden | VM-15 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-14 | Bad EG Wand | VM-16 Putz Wand |  |  |  | Asbest: |
| MaP-15 | Bad EG Decke | VM-17 Putz Decke |  |  |  | Asbest: |
| MaP-16 | Schlafzimmer EG Wand | VM-19 Putz Wand |  |  |  | Asbest: |
| MaP-17 | Schlafzimmer EG Decke | VM-18 Putz Decke |  |  |  | Asbest: |
| MaP-18 | Fassade DG-UG Wand | VM-20 Putz Wand |  |  |  | Asbest: |
| MaP-19 | Dach DG Dach | VM-21 Faserzement Dach |  |  |  | Asbest: |
| MaP-20 | Balkon EG Boden | VM-22 Plattenkleber Boden |  |  |  | Asbest: |