| Bezeichnung | Fundort | Verdachtsmoment | Bemerkung | Überblick | Detail | Ergebnis Analytik |
| --- | --- | --- | --- | --- | --- | --- |
| MaP-1 | Estrich DG Unterdach | VM-1 Faserzement Unterdach |  |  |  | Asbest: |
| MaP-2 | Estrich DG Wand | VM-3 Putz Wand |  |  |  | Asbest: |
| MaP-3 | Treppenhaus DG - EG Wand | VM-4 Putz Wand |  |  |  | Asbest: |
| MaP-4 | Treppenhaus DG - EG Decke | VM-5 Putz Decke |  |  |  | Asbest: |
| MaP-5 | Waschküche / Büro DG Boden | VM-6 (elastische) Bodenbeläge Boden |  |  |  | Asbest: |
| MaP-6 | Waschküche / Büro DG Decke | VM-7 Putz Decke |  |  |  | Asbest: |
| MaP-7 | gesammtes Haus DG- UG Fensterflügel | VM-8 Fensterkitt Fensterflügel |  |  |  | Asbest: |
| MaP-8 | Wohnzimmer / Küche OG Wand | VM-9 Putz Wand |  |  |  | Asbest: |
| MaP-9 | Wohnzimmer / Küche OG Decke | VM-10 Putz Decke |  |  |  | Asbest: |
| MaP-10 | Reduit OG Wand / Boden | VM-11 Cushio Vinyl Boden / Wand |  |  |  | Asbest: |
| MaP-11 | Reduit OG Decke | VM-12 Putz Decke |  |  |  | Asbest: |
| MaP-12 | Bad OG Boden | VM-13 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-13 | Bad OG Wand | VM-14 (elastische) Wandbeläge Wand |  |  |  | Asbest: |
| MaP-14 | Gang / Gästezimmer OG Boden | VM-15 (elastische) Bodenbeläge Boden |  |  |  | Asbest: |
| MaP-15 | Gang / Gästezimmer OG Wand | VM-16 Putz Wand |  |  |  | Asbest: |
| MaP-16 | Gang / Gästezimmer OG Decke | VM-17 Putz Decke |  |  |  | Asbest: |
| MaP-17 | Gästezimmer alt OG Boden | VM-18 (elastische) Bodenbeläge Boden |  |  |  | Asbest: |
| MaP-18 | Gästezimmer alt OG Decke | VM-19 Putz Decke |  |  |  | Asbest: |
| MaP-19 | Gästezimmer OG Decke | VM-20 Putz Decke |  |  |  | Asbest: |
| MaP-20 | Neben Stube EG Boden | VM-21 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-21 | Neben Stube EG Wand | VM-23 Putz Wand |  |  |  | Asbest: |
| MaP-22 | Neben Stube EG Decke | VM-24 Putz Decke |  |  |  | Asbest: |
| MaP-23 | WC EG Boden | VM-25 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-24 | WC EG Wand | VM-26 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-25 | Restaurant EG Wand | VM-27 Putz Wand |  |  |  | Asbest: |
| MaP-26 | Restaurant EG Boden | VM-28 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-27 | Küche EG Decke | VM-29 Putz Decke |  |  |  | Asbest: |
| MaP-28 | Küche EG Wand | VM-30 Plattenkleber Wand |  |  |  | Asbest: |
| MaP-29 | Küche EG Boden | VM-31 Plattenkleber Boden |  |  |  | Asbest: |
| MaP-30 | Treppenhaus UG Wand | VM-34 Putz Wand |  |  |  | Asbest: |
| MaP-31 | Fassade EG-DG Wand | VM-35 Putz Fassade |  |  |  | Asbest: |
| MaP-32 | Fassade EG-DG Wand | VM-36 Putz Fassade |  |  |  | Asbest: |
| MaP-33 | Garage EG Wand | VM-39 Putz Wand |  |  |  | Asbest: |
| MaP-34 | Werkstatt EG Wand | VM-40 Putz Wand |  |  |  | Asbest: |
| MaP-35 | Garage EG Decke | VM-41 Faserzement Welleternit |  |  |  | Asbest: |
| MaP-36 | Estrich Haus OG Boden | VM-42 Cushio Vinyl Boden |  |  |  | Asbest: |
| MaP-37 | Ganzes Haus UG- DG Kamin | VM-43 Putz Wand |  |  |  | Asbest: |
| MaP-38 | Wohnzimmer OG Wand | VM-45 Putz Wand |  |  |  | Asbest: |
| MaP-39 | Fassade EG-DG Wand | VM-47 Putz Fassade |  |  |  | Asbest: |